## Sheet1
Punjab Safe City (POC) Sensors List
Sr. # | Name | Usage | Specification | Remarks
1 | MQ-2 | Methane, Butane, LPG, smoke | Detection range: 300 -10000 ppm | Used for smoke detection
Operating Voltage: +5V
Output: Analog
2 | MQ-7 | Carbon Monoxide | Detection range: 20 - 2000ppm | Used for CO Gas detection
Operating Voltage: +5V
Output: Analog
3 | MQ-9 | Carbon Monoxide, Methane, Propane | Detection range: 200 - 10000 ppm | Used for CH4 Gas detection
Operating Voltage: +5V
Output: Analog
4 | MQ-135 | Air Quality (CO, NH3, NO2, Alcohol, CO2) | Detection range: 300-2000 ppm | Used for Air Quality Detection
Operating Voltage: +5V
Output: Analog
5 | DS18b20 | Temperature sensor | --- | Not Used due to its digital output
6 | HR202 | Humidity Sensor Module | --- | Not Used due to its digital output
7